[image: image3.png]



[image: image4.jpg]S\ON

WEALT,
a4,

N

OZ1yn

T e




	[image: image5.jpg]d4e

/9 - 6GlI™W1 Qig

z

.Haqu.' maje

=
=




COMMUNITY HEALTH CENTRE, GHATGAON

	HOSPITAL ADMINISTRATION MANUAL

	Hospital Waste Management
	STANDARD OPERATING PROCEDURE

           HAM.12



STANDARD OPERATING PROCEDURES

FOR
HOSPITAL WASTE MANAGEMENT POLICY

COMMUNITY HEALTH CENTRE, GHATGAON

758027
ODISHA

PHONE NO: 06733-223208
1.0 Purpose:

The purpose of this waste management policy is to outline safe and efficient practices for the segregation, store and disposal of biomedical and general waste generated by the hospital and ensure the ensure the compliance to Statutory Requirements
2.0 Scope:  It includes the following:
· Segregation of waste
· Collection and handling of waste
· Transportation of waste
· Storage of waste
· Disposal of waste
             All these functions are done in accordance with the Bio-medical Waste (Management and Handling) Rules, 1998.
 3.0        Reference:

Quality Management System Manual, MNL: QSM: 01, Section 7.1 

4.0        Process Flow Chart
In every ward three colors

Containers are present i.e

Black, blue and yellow

In black general wastes are disposed

In blue syringes, catheters, gloves etc are disposed

In yellow cotton, beddings etc soiled with blood strains or 

Human body fluids are disposed.

In every ward puncture proof white containers are 

Kept for sharps.


It is the responsibilities of the nurses , 

sweepers and 

Group D staff to segregate the waste. 


                                                       Wastes are collected from respective wards

by the sweepers in continuous basis.

Every ward gives labels in the plastics

mentioning the name of the ward.

The general wastes are collected by the municipality

5.0        Standard Procedures

	S#
	Activity
	Responsibility
	Related Format/Record/Document

	5.1
	Segregation
	
	

	5.1.1
	Colour coded bins for segregation of waste in adequate number are made available in the hospital wherever necessary
	
	

	5.1.2
	Segregation of Bio-Medical Waste is done at point of generation as per Biomedical Waste (Management & Handling) rules 1998 in different color coded bins with liners.
	Doctor/ Nurse
	

	5.1.3
	If waste specific coloured containers / plastic bags are not available, then labeling of colour / mentioning colour or category can be used
	Nurse
	

	5.1.4
	The colour coded plastics/ bins are located close to the site of generation of waste.  
	Nurse
	

	5.1.5
	Generally 3 types of containers are required:

· For general waste               – Black

· Infectious non sharp waste – Yellow

· Infectious sharp waste - Blue ( Puncture proof
	Nursing Staff
	

	5.2
	Collection of Waste
	
	

	5.2.1
	Waste bags/ containers are sealed and tied when they are 3/4th full. The disposable sharps bag/ container is sealed with tape. 
	Housekeeping staff
	

	5.2.2
	Waste is collected by housekeeping at the respective department in morning time (or as required) except in OT where the waste would be collected after every operation.
	Housekeeping staff
	

	5.2.3
	The bags/ containers are replaced by fresh ones by the attendants/ housekeeping staffs
	Housekeeping staff
	

	5.3 
	Handling of waste
	
	

	5.3.1
	Staffs handling waste are adequately trained and aware of the procedures of handling waste. Following points are checked while handling waste:

· Waste bags are properly sealed

· Origin of the waste is marked on the  waste bag/ container

· Bags are picked up by the neck every time.
	Training In Charge
	

	5.3.2
	Personal protective clothing/ devices are used by the waste handlers each time while handling waste.
	Housekeeping staff
	

	5.4
	Transportation of Waste
	
	

	5.4.1
	Waste is transported to disposal site in closed container through a pre- defined route avoiding crowded area 
	Housekeeping Staff
	

	5.4.2
	A large plastic bag is used to line the wheel-able bin to prevent any liquid leaks from the waste bags from soiling the bin.
	Housekeeping staff
	

	5.4.3
	This plastic bag is replaced every day
	Housekeeping staff
	

	5.5
	Storage of Waste
	
	

	5.5.1
	Blue, Yellow and Black waste are held in the bins kept permanently in waste holding room. Sufficient no. of bins is kept to store waste for a period of 12 hrs and maximum upto 48 hrs. 
	Housekeeping Staff
	

	5.5.2
	Kitchen waste is placed in designated bins and will be stored for a maximum of 48 hrs.
	
	

	5.6
	Safe Disposal of Waste:
	
	

	5.6.1
	Anatomical waste (yellow bag) is disposed in pits made inside the hospital.
	
	

	5.6.2
	Waste is disposed usually disposed same day. Maximum time limit is 48 hours 
	
	

	5.6.3
	General waste is collected from the facility and disposed by Outsourcing agency. 
	3rd Party Outsourcing agency
	

	5.6.4
	Plastic waste is shredded & then disposed off.
	
	

	5.6.5
	Sharp waste (needles) are first mutilated in the needle cutter then disinfected with 1% sodium hypo chloride solution in white color puncture proof container.  Then all needles disposed in sharp pits.
	
	

	5.6.6
	Re usable waste: Fixer from the Radiology department is removed once in 3 to 4 weeks. This fixer liquid is transported in a closed container by housekeeping staff to a designated area of the hospital under the supervision and guidance of Radiology Staff.
	Housekeeping staff
	

	5.6.7
	Monitoring and Quality Control: MO I/C along with Sister Incharge during their rounds assess the process flow and compliance of Bio medical Waste regulations, Observations are discussed with the staff on duty and appropriate instructions are given at the same time.
	MO I/C
	

	5.7
	Statutory & Regulatory Compliance
	
	

	5.7.1
	Hospital abides to all the clauses of Biomedical Waste (Management & Handling Rules) 1998. 
	Medical Officer I/C / BPM
	Bio- Medical Waste (Management & Handling) Rules 1998

	5.7.2
	Hospital has a valid authorization for Handling & Treating Bio-Medical Waste as per BMW (Management & Handling Rules 1998. This is renewed at prescribed interval.
	
	

	5.7.3
	A annual report is submitted to Pollution Control Board, Orissa by 31st January of every year
	
	Form II, Bio- Medical Waste (Management & Handling) Rules 1998

	5.7.4
	Any major accident during handling & transportation is reported to MO I/C
	Medical Officer I/C / BPM
	Form III, Bio- Medical Waste (Management & Handling) Rules 1998

	5.7.5
	All the containers are labeled with bio hazard sign as per schedule III of BMW (Management & Handling Rules 1998.
	
	Schedule III Bio- Medical Waste (Management & Handling) Rules 1998


6.0 Formats: 
	Title 
	Serial No

	Form II Annual Report Format                              
	

	Form III Accident Reporting Format
	

	BMW Score card
	


7. Records:    
8. Documents of External Origin/ References
    Bio-Medical Waste (Handling & Management) Rules 1998 

    IMEP Guidelines, MoHFW, Government of India  

9. Signage/ Display 

                                                   [image: image1.png]


 

                                                                Bio Hazard Symbol 

                     Formats for Hospital Waste Management

	Bio-Medical Waste (Management & Handling) Rules, 1998

FORM II (Rule 10) for ANNUAL REPORT

(To be submitted to the prescribed authority by 31st January every year)

Annual Report for the Year ……………. (from January ………….. to December ……………)

Name of Hospital 

Sl. No.        Query as per Form –II 


 Response
1.
Particulars of the applicant

    Name of Hospital 

i)
Name of the authorized person

     …………………


(Occupier/operator) 


    

ii)
Name of the institution
                   Name of Hospital 


Address






Tel. No 



            


Fax No






2.
Categories of waste generated and
Refer Exhibit –I


Quantity on a monthly average basis :


3.
Brief details of the treatment facility
Refer Exhibit –II

 


Wherein the details of the on site treatment

  


Facilities are described namely on site treatment

 


Facilities are for Cat III, Cat-IV, and VII as  below:

1. Autoclave for

a. Infectious plastic waste after

      Chemical disinfection and mutilation  Of tubes & bags

b. Pathological laboratories waste

c. Blood bags tested +ve or HIV, 

     Hepatitis B & C, VDRL & MP

2. Shredding facilities of the syringes

Off-site facility 





i)  Name of the operator




ii) Name and address of the facility




Tel. No.






Fax No. 





4. 
Category-wise quantity of waste 


 
treated

5.
Mode of treatment with details 
 


6.
Any other information







Certified that the above report is for the period from 

 





Signature
:

 





Name & 
: 







Designation
  

                                                                              Place : 


FORM III

(see Rule 12)

ACCIDENT REPORTING

1. Date: …………………..


Time of accident: …………………………..
2. Sequence of events leading to accident 

3. The waste involved in accident: ………………………………………………………………….

4. Assessment of the effects of the accidents on human health and the environment.
5. Emergency measures taken:
6. Steps taken to alleviate the effects of accidents: 
7. Steps taken to prevent the recurrence of such an accident:
Date: ……………………………………………………

Signature: ……………………………………………………… Place: ………………………………………………… 

Designation: …………………………………………………
BMW Score Card

[image: image2.emf]Availability of colour coded Bins 

at point of BMW generation

Availability of coloured liners

Display of work instructions at 

the point of segregation

Segregation of BMW at point of 

generation

availability of sharps pit and 

disposal of sharps as per rules.

Availability of deep burial pit 

and disposal of placenta and 

other anatomical waste as per 

rule

Availability of PPE(Personal 

Protective Equipments) with 

biomedical waste handlers

Availability of sodium 

hypochlorite solution and 

puncture proof boxes

Mutilation and disinfection of 

plastic waste before disposal

Authorization under BMW 

management rules 1996.



Scale 1-10 BMW Score

(N) Biomedical Waste Management

for every YES give 1 for every NO give 0,

add scores of all 10 attributes to get the final score

26


10. Process Efficiency Criteria:
	Si. No 
	Activity 
	Efficiency Criteria

	1
	Renewal of Authorization
	The renewal of Authorization is done within specified time, i.e., before expiry of authorization

	2
	Storage of BMW
	The BMW should not be stored for more than 48 hours

	3
	Annual Report
	Annual report of BMW generated is submitted to State Pollution Control Board, on or before 31st March every year

	4
	BMW Score
	Score of 10


11. Reference Documents:
1. Bio Medical Waste (Handling & Management) Rules, 1998

2. IMEP Guidelines, MoHFW, Government of India

